Risk Assessment —
Sample Hazards Inspection Checklist

Used for prioritizing the needs of equipment and supplies

Used as an assessment tool for future budget plan

Used to inform first responders (especially fire) about building condition

Update information at least once a year

Sample Evaluation of Current Building Condition

| Building Factors | Condition/Location | Possible Hazards |
| --- | --- | --- |
| Where is the Building Situated? | Building is located at north end of Federal Complex, at the corner of 1st Ave. and Main. | Holding pond, north of North Ave. |
| Surrounding Area | Other federal office buildings are located to the west and south. A large parking lot lies to the east. A road is north of the building—Route 66, located about 1/8th mile north of the building. | Vulnerability to Hazmat incidents on Route 66. Risk of collateral effects of emergencies at nearby buildings. |
| Location of Records | Records are stored in decentralized file locations throughout the building. | One file station is in a basement, vulnerable to water drainage in a major storm or leak. |
| Security | Nine staff members have keys to the building. | Possible hazard. Lost or stolen keys present security risk. |
| Environmental Stability in the Building | One records area—the technical library and archives—is temperature- and humidity-controlled. | Minimal hazard |
| Structural Stability | Brick structure. Building was constructed in phases: 1942, 1950s, 1960s, and 1970s. Last addition, completed in 1973, includes the new front office areas. | Minimal hazard |
| Roof Type | Metal roof with tar and gravel covering. Library stack area roof is reinforced with special roofing materials. | Moderate. Older parts of the building are still vulnerable to roof leak around drains. |
| Drainage/Sprinkler System | Wet pipe sprinkler system | Minimal hazard |
| Fire Protection System | Fire alarms, sprinkler alarms activated by heat-sensing sprinkler heads. Fire extinguishers are present. | Minimal hazard |
| Hazardous Materials On Site or Near Site | Small amounts of paint and other substances are maintained in the dock in a locking cabinet. | Minimal hazard |
| Chemicals Stored on Site | Location/Amount | Possible hazards |

Risk Assessment —
Blank Hazards Inspection Checklist

| Building Factors | Condition/Location | Possible Hazards |
| --- | --- | --- |
| Where is the Building Situated? |  |  |
| Surrounding Area |  |  |
| Location of Records |  |  |
| Security |  |  |
| Environmental Stability in the Building |  |  |
| Structural Stability |  |  |
| Roof Type |  |  |
| Drainage/Sprinkler System |  |  |
| Fire Protection System |  |  |
| Hazardous Materials On Site or Near Site |  |  |
| Chemicals Stored on Site |  |  |